## Slide 1: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling

## Slide 2: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling
Stage 1: Dismount screw shown in figure

## Slide 3: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Flow Regulator Dismantling
Stage 2: Dismount u form piston ring on the water inlet side

## Slide 4: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling
Stage 3: take out the water inlet fitting part

## Slide 5: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling
Stage 4: take out the filter

## Slide 6: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling
Stage 5: push gently flow regulator inside the fitting part and take out

## Slide 7: SPEED 7,5/SPEED 9/ SPEED 10,50/ SPEED 12 Regulator Dismantling
Stage 6: insert filter inside of the fitting part
Stage 7: to mounting other parts do steps backward ( step 3-1)